## Slide 1: Photons to images
January 3, 2018

## Slide 2: Digital imaging pipeline
Incident Photon
Silicon Atom
Released
Electron
Hole
CCD
CMOS
Electrons to voltage conversion
Photons to electrons
Voltages to gray levels
ADC

## Slide 3: Sources of noise
Photons to electrons
2. Quantum Efficiency
Electrons to voltage conversion
1. Dark current noise
Thermally generated
electrons
2. Full-well capacity
Image saturation
Voltages to gray levels
1. Read noise
Thermal noise in
read-out circuitry
2. Systematic noise
Fixed-pattern noise
Pixel readout non-uniformity
Hot-pixels
Ignore for now
1. Photon shot noise
Quantum nature of light
Expectation
Reality
Full-well
Photons
Read-noise
Dark-current

## Slide 4: Per-pixel noise model
Scene radiant power
Gain factor
Photon + Dark noise
Exposure time
Saturation
Raw pixel
value
Dark current
Read noise
Quantization
linear image formation:
Noise (Read)
Saturation level/Full-well
Gain

## Slide 5: Intensified CCD camera (ICCD): 4 Picos
Temporal Resolution: 200 ps
Stanford Computer Optics
Example image: Shows that the laser moved approximately .
Single-photon sensitivity

## Slide 6: Intensified CCD camera (ICCD): 4 Picos
Stanford Computer Optics
CCD
Intensifier
Input window
Output window
Multi-channel
Plate (MCP)
Phosphor
Photocathode
Photons
Photocathode: (peak)
MCP : electron multiplication
Phosphor : photons per electron
High-dynamic range : bits
High TE cooling (): Low-dark current

## Slide 7: Intensifier specification
Quantum-efficiency :
Dark-current :
Read-noise :
Full-well :
Quantization-bits : bits
CCD specification
Resolution :
Dynamic-range : bit
Pixel-Size :
Dark-current :
Quantum-efficiency :
MCP (amplification) :
Phosphor-efficiency : photons per
electron

## Slide 8: Pseudocode: Forward-model
[] = ScatteringMedium ()
: 2D-Point-spread function in
: Scene-reflectivity in
: Output-image in
imfilter;
[] = ICCDIntensifier ()
outputImage : Image incident on intensifier in
: (Quantum-efficiency of intensifier in )
: (Amplification of )
: (Phosphor-screen efficiency in )
: (Dark-current in )
intensifiedOutput: Intensified output-image in
[] = CCDSensor ()
: Intensified output-image in
: Output-image in
: (Quantum-efficiency of sensor in )
: (Read-noise in )
: (Full-well capacity in )
: (Dark-current in )
: (Number of bits in )
: (Gain-factor decided by which image saturates)

## Slide 9: Example forward-model
TotalNumberPhotons
Image saturates at slice 5 itself.
Intensifier-gain | 1
Desired-saturated image | 10
Achieved-saturated image | 5

## Slide 10: Example forward-model
TotalNumberPhotons
Image saturates at slice 11.
Intensifier-gain | 21
Desired-saturated image | 10
Achieved-saturated image | 11

## Slide 11: Example forward-model
TotalNumberPhotons
Image saturates at slice 11.
Intensifier-gain | 24
Desired-saturated image | 10
Achieved-saturated image | 11

## Slide 12
412228
153444
124221
124964
113740
106498
111167
113275
145945
153091
219007
233053
274313
336998
418083
500000
500000
500000
500000
500000
412226
153451
124223
124964
113748
106503
111152
113268
145954
153089
219008
233056
274307
336994
418088
500001
500019
500026
500026
500028
3376
1256
1017
1023
931
872
910
927
1195
1253
1793
1908
2246
2759
3424
4095
4095
4095
4095
4095
210
78
63
63
57
54
56
57
74
78
111
118
139
171
213
255
255
255
255
255
maxVals (slicewise)
After full-well
After read
After gain
After 8-bit quant for display
3376
1256
1017
1023
931
872
910
927
1195
1253
1793
1908
2246
2759
3424
4095
4095
4095
4095
4095
After 12-bit quant

## Slide 13: Intensifier gain
Intensifier gain = 1
Saturated image= 8
Intensifier gain = 2
Saturated image= 5
Intensifier gain = 3
Saturated image= 1
Intensifier gain = 4
Saturated image= 1
TotalNumberPhotons
Increasing the intensifier-gain saturates the image more quickly (in time) but the quality of the slice-1 seems to improve.